## Sourcing Tracker
STN / LUMON 8 MW SYNAPSE 60-XL — OSI SOURCING TRACKER
Based on BOM-MVP Monitoring Hardware ¦ TEC Project 26152 ¦ Prepared by OSI Global
Category | Description | Manufacturer | Model / Part # | Total Qty (MVP) | Current Vendor (BOM) | OSI Partner Channel | Sourceable? | Priority | Unit Est. ($) | Notes / Open Items
Networking | 48-Port GbE PoE+ Smart Managed Switch (4× SFP, 380W) | NetGear | GS752TP-300NAS | 10 | CDW | CDW / Ingram / D&H | Yes | High | 1590 | 10 units (9 modules + 1 pump bldg). OSI has active CDW relationship. Add-On 1 adds 9 more.
Networking | CAT6 High-Density Feed-Through Patch Panel 48-Port 2U | Networx | NPHD482UC6C-K | 9 | Amazon | CDW / Wesco / Amazon | Yes | Med | 214 | Commodity — multiple distributor options.
Networking | Cat6 Patch Cables (1ft, 2ft, 3ft) Green | Cables.com | M6-1/2/3-GN | ~2,250 | Cables.com | Wesco / Cables.com / SHD | Yes | Low | ~3–4 ea | Commodity cabling. High volume — negotiate bulk pricing.
Networking | Cat6 Pass-Thru Modular Plugs 200-Pack | Klein | VDV826-763 | 4 | Amazon | Wesco / Klein Distributor | Yes | Low | 60 | Commodity.
Edge Compute | DIN Rail Mounted IoT/BMS Appliance (4COM, HDMI, DIO) | AXIOMTEK | ICO300-83B-N4200 | 19 | AXIOMTEK Direct | AXIOMTEK / Ingram | Confirm | High | 1750 | 19 units total (18 modules + 1 pump bldg). Verify OSI has AXIOMTEK reseller access.
Power / PDU | DIN Rail Power Supply 96W 24V 4A | MeanWell | MDR-100-24 | 36 | Mouser | Mouser / Digi-Key / Arrow | Yes | Med | 54 | Commodity. Available through standard electronics distributors.
Power / PDU | 2-Pole 2A DIN Rail Breaker | Eaton | FAZ-C2-2-NA | 72 | Automation Direct | Eaton / Wesco / Rexel | Yes | Med | 88 | Eaton breakers — Wesco is a major Eaton distributor.
Power / PDU | PDU Metered ATS 200–240V 20A 8×C13 2×C19 1U Rackmount | Eaton / Tripp-Lite | PDUMH20HVAT | 9 | CDW | CDW / Wesco / Tripp-Lite | Yes | High | 740 | 9 units for MVP. CDW or Wesco should have stock.
Power / PDU | Raritan PDU SNMP Per-Outlet Monitored 3-Phase | Raritan | PX3-582AI2U-F5N1Q2V2 | 36 | Raritan / CDW | CDW / Raritan Direct | Confirm | High | ~2,000+ | Add-On 1: 4 PDUs × 9 modules = 36 units. Confirm Raritan availability and pricing through OSI partners.
Environmental | F200 Facility Monitor (4 sensor ports, 8 DI, PoE/LAN) | RLE Tech | F200 | 19 | Parameter (RLE) | Parameter / RLE Direct | Confirm | High | 1190 | 19 units (18 modules + 1 pump bldg). Parameter is authorized RLE distributor — confirm OSI can transact through Parameter or RLE direct.
Environmental | PoE Splitter Kit for F200 / WiNG-RXT | RLE Tech | 5V-POE-KIT | 18 | Parameter (RLE) | Parameter / RLE Direct | Confirm | High | 245 | Tied to F200 units above.
Environmental | 1-Wire Temperature Sensor | RLE Tech | 1WIRE-TS | ~72 | Parameter (RLE) | Parameter / RLE Direct | Confirm | Med | 120 | Min. 72 sensors (4 hot + 4 cold aisle per module). Confirm through Parameter.
Environmental | 1-Wire Temp & Humidity Sensor | RLE Tech | 1WIRE-THS | 36 MVP + 2 PB | Parameter (RLE) | Parameter / RLE Direct | Confirm | High | 230 | 36 per MVP + 2 pump building. Same sourcing path as F200.
Environmental | SC-50 Rope Leak Detection Cable (50 ft) | RLE Tech | SC-50 | 18 MVP + 2 PB | Parameter (RLE) | Parameter / RLE Direct | Confirm | High | 701 | Confirm OSI pricing through Parameter vs. RLE direct.
Environmental | Leader Cable Kit (15 ft) + EOL Terminator | RLE Tech | LC-KIT | 36 MVP + 1 PB | Parameter (RLE) | Parameter / RLE Direct | Confirm | Med | 93
Environmental | F200 1U Rack Mount Bracket (holds 2 units) | RLE Tech | F200-RMB | 9 MVP + 1 PB | Parameter (RLE) | Parameter / RLE Direct | Confirm | Low | 114
Environmental | Spot Detector with Relay Output | RLE Tech | SD-RO1 | 18 MVP | Parameter (RLE) | Parameter / RLE Direct | Confirm | Med | 164 | One per module at lowest drip pan point.
Environmental | 230VAC / 24VAC 20VA DIN Rail Transformer | CZH-LABS | D-1033T/R-1 | 9 MVP | CZH-LABS Direct | Amazon / Digi-Key | Yes | Low | 75 | Commodity power transformer.
Environmental | Misc Install Clips & Hardware | RLE Tech | Misc | 10 kits | Parameter (RLE) | Parameter / RLE Direct | Confirm | Low | 200
Security / Camera | FLEXIDOME 5100i 12MP 360° IR Outdoor IP Dome Camera | Bosch | NDS-5704-F360LE-GOV | 36 MVP (4×9) + 2 PB | Wesco | Wesco / ADI Global | Yes | High | 1716 | Wesco already named in BOM. OSI has Wesco relationship — confirm pricing tier. Add-On 3 adds up to 45 more units.
Security / Camera | Camera Misc Mounting Hardware | Various | — | 10 kits | Misc | Wesco / Amazon | Yes | Low | 100 | Per-module misc.
Security / Access | Aluminum Armored Door Contact DPDT 1.5" Wide Gap | UTC Interlogix | SEC-DSCNCT-01 | 18 MVP + 2 PB | UTC Interlogix | ADI Global / Wesco | Confirm | Med | 75 | UTC Interlogix = Carrier/Supra brand. ADI Global is primary distributor. Confirm OSI access.
Security / Access (Add-On) | PCSC IQ200 Security Controller w/ Ext Mem 12VDC | PCSC | PCBIQ212XLAN | 10 | PCSC Direct | PCSC Direct / ADI | Confirm | Med | 2354 | Add-On 2. 10 units (9 modules + pump bldg). PCSC is specialty — confirm distributor access.
Security / Access (Add-On) | HID Keypad Reader with PIN Pad (PCSC format) | HID | 921NTNNEK00000 | 10 | PCSC | ADI Global / HID Direct | Confirm | Med | 585 | Add-On 2. HID is major brand — ADI Global stocks widely.
Security / Access (Add-On) | Request-to-Exit Detector Tamper/Timer | Kantech/Tyco | TREX-XL | 10 | Jmac Supply | ADI Global / Jmac | Confirm | Med | 163 | Add-On 2. Kantech = Johnson Controls brand. Check ADI.
Rack / Enclosure | Adjustable Rackmount DIN Rail Kit | StarTech | ADJDINKIT | 27 | Amazon | CDW / StarTech / Amazon | Yes | Low | 138 | Commodity rack accessory.
Rack / Enclosure | Velcro ONE-WRAP Strap 3/4" × 75 ft | Velcro | 151494 | 9 | Amazon | Amazon / Grainger | Yes | Low | 42 | Commodity.
SOURCEABLE LEGEND |  |  |  | QUICK SUMMARY
Yes | OSI can source through existing partner |  |  | ✅ Sourceable (Yes): 12 line items
Confirm | Partner access needs verification before quoting |  |  | ⚠️ Need Confirmation: 15 line items
No | OSI does not carry / no known partner |  |  | Key partners to engage: CDW, Wesco, Parameter/RLE, ADI Global, PCSC